## Slide 1: Fall Detection Justin Haryanto Nhan Nguyen

## Slide 2: Objectives
Improve fall detection performance
Functions with low quality video and unusual poses
Fast and works on a live feed
Tracks multiple people
Does not require personal devices and sensors

## Slide 3: System Overview
Pose Estimation
Video
Output
Video Processing
Fall Detection

## Slide 4: System Overview
Video Processing
Pose Estimation
Fall Detection
Fall Detection
System

## Slide 5: Execution plan
Goal | 9/5 | 9/19 | 10/3 | 10/17 | 10/31 | 11/14 | 11/28
Review Literature on Pose Estimation (Both) |  |  |  |  |  |  | 
Experiment with Pose Estimation programs (Both) |  |  |  |  |  |  | 
Improve Performance of Pose Estimation Programs (Nhan) |  |  |  |  |  |  | 
Study Machine Learning (Justin) |  |  |  |  |  |  | 
Implement ML & DL on keypoints & bounding boxes (Justin) |  |  |  |  |  |  | 
Fall Detection Dataset (Justin) |  |  |  |  |  |  | 
Train Fall Detection (Justin) |  |  |  |  |  |  | 
Completed | 
In Progress | 
Not Started | 

## Slide 6: Validation plan
Test | Success Criteria | Methodology | Status | Responsibility
Pose Estimation FPS | Processes videos at 30 FPS | Feed videos at various FPS | Untested | Nhan Nguyen
Fall Detection Accuracy | >90% of falls successfully detected | Use processed videos, compare to labelled dataset | Untested | Justin Haryanto
Whole System Accuracy | >90% of falls successfully detected | Use raw videos, compare to labelled dataset | Untested | Full Team

## Slide 7: Video Processing & Pose Estimation - Progress
Studied how AlphaPose works and tested the code on data sets
Examined the output of AlphaPose to see the results of bounding boxes and keypoints

## Slide 8: Video Processing & Pose Estimation - Plans
Improve AlphaPose capabilities by altering the code or improving the pre-trained models
Supply live video feed through model

## Slide 9: Video Processing & Pose Estimation - Issues
Need to understand code to improve its mean average precision
Issues feeding live video to program

## Slide 10
AlphaPose

## Slide 11: Fall Detection - Progress
Focused on analyzing keypoints
Used currently labeled AlphaPose data for training and testing
Researched viability of K-nearest neighbors and random forests for fall detection
Currently implementing random forests algorithm

## Slide 12: Fall Detection - Plans
Implementing random forests (RF) algorithm on keypoints
Utilizing convolutional neural networks (CNN) to analyze bounding boxes
Fall detection result based on results of RF and CNN

## Slide 13: Fall Detection - Issues
Unfamiliarity with Google Colab and TensorFlow
Problems running random forests
Starting training on AlphaPose data
General programming and troubleshooting pain

## Slide 14
Fall
Detection
FALLEN

## Slide 15: Thank You